{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":16,"n_cols":3,"rows_kept":16,"cut":false,"hidden":false,"merged":[[0,0,0,2]]}
["PCR实验室主要设备清单"]
["序号","主要设备","数量"]
[1,"生物安全柜",10]
[2,"超净台（1.5米）   ",1]
[3,"移液排枪19支（规格：10-100ul、8联排）",19]
[4,"      移液器：20-200ul        ","1批"]
[5,"      移液器：10-1000ul          ","1批"]
[6,"      移液器：0.1-10ul    ","1批"]
[7,"8联排离心机     ",5]
[8,"PCR瞬时离心机       ",3]
[9,"板式离心机96孔       ",5]
[10,"移动紫外车",30]
[11,"样本小推车（3层）",10]
[12,"样本小推车（双层）",4]
[13,"镊子",30]
[14,"移液器架  ",22]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}